Deck Coating Guide Specification

For:

Terapro PUR Heavy Exposed

Vehicular Traffic Application

Prepared by:

Siplast, Inc.

14911 Quorum Drive

Dallas, TX  75254

(800) 922-8800

This specification is provided as a general guide for use of Siplast products based on typical building conditions and standard waterproofing practices.  For existing structures, Siplast recommends a thorough evaluation of the concrete substrate prior to bid to determine any remedial treatment and preparation which may become required in addition to Siplast standard specifications and recommendations.   A thorough evaluation includes concrete core extraction and laboratory analysis to identify concrete additives, environmental contaminants, and other potential  normalities which may affect adhesion and performance of the waterproofing system. For new construction projects, the mix design should be reviewed to ensure that it meets substrate requirements. The information in this guide specification must be reviewed/approved by a design professional and modified as necessary and appropriate for each project. Each project has unique requirements and Siplast, Inc. recommends that the Owner's representative independently verify the accuracy and appropriateness of the specification provided for a particular project. Each selection or deletion made to this guide specification should be carefully considered. Users of this guide specification assume sole responsibility for its use.

June 24, 2025

SECTION 07 18 13   LIQUID APPLIED PEDESTRIAN TRAFFIC WATERPROOFING

(Rev 6/2025) jd

PART 1  GENERAL

1.01  SECTION INCLUDES:

A.	Evaluation/Preparation of Substrate to Receive Vehicular Traffic Coating

B.	Epoxy Primer Application

C.	Polyurethane (PUR) Vehicular Traffic Coating Application

1.02  RELATED SECTIONS

A.	Section [----] - Cast-in-Place Concrete

B.	Section [----] - Expansion Control

C.	Section [----] - Rough Carpentry

D.	Section [----] - Flashing and Sheet Metal

E.	Section [----] - Joint Sealers

1.03  REFERENCE STANDARDS

Agencies which may be used as references throughout this specification section include:

NIOSH	National Institute for Occupational Safety & Health

Atlanta, GA

OSHA	Occupational Safety and Health Administration

Washington, DC

ICRI	International Concrete Repair Institute

Sterling, VA

ACI	American Concrete Institute

Farmington Hills, MI

1.04  SUBMITTALS

All submittals which do not conform to the following requirements will be rejected.

*  NOTE:	Coordinate submittal requirements with general provisions.  Modify submittals to suit specific project requirements.

A.	Submittals Prior to Contract Award Shall Include:

1.	Letter from the proposed primary system manufacturer confirming that the bidder is an acceptable Contractor authorized to install the proposed system.

2.	Letter from the primary system manufacturer stating that the proposed application will comply with the manufacturer's requirements in order to qualify the project for the specified guarantee.

1.05  QUALITY ASSURANCE

A.	Acceptable Contractor:  Contractor shall be certified in writing by the coating materials manufacturer to install the primary coating products.

B.	Product Quality Assurance Program:  Primary coating materials shall be manufactured under a quality management system that is monitored regularly by a third party auditor under the ISO 9001 audit process.

C.	Project Acceptance:  Submit a completed manufacturer's application for coating warranty form along with shop drawings of areas to receive the traffic coating, showing all dimensions, penetrations, and details.  The form shall contain all the technical information applicable to the project.  The project must receive approval by the coating manufacturer, through this process, prior to shipment of materials to the project site.

D.	Scope of Work:  The work to be performed under this specification section shall include, but is not limited to, the following:  Attend necessary job meetings and furnish competent and full time supervision, experienced mechanics, all materials, tools, and equipment necessary to complete, in an acceptable manner, the coating system installation in accordance with this specification.  Comply with the latest written application instructions of the manufacturer of the specific coating products.

E.	Local Regulations:  Conform to regulations of public agencies, including any specific requirements of the city and/or state of jurisdiction.

F.	Manufacturer Recommendations:  The primary materials manufacturer shall provide trained company personnel to attend necessary job meetings, perform periodic inspections as necessary, and conduct a final inspection upon successful completion of the project.

1.06  PRODUCT DELIVERY STORAGE AND HANDLING

A.	Delivery:  Deliver materials in the manufacturer's original sealed and labeled containers and in quantities required to allow continuity of application.

B.	Storage:  Store closed containers in a cool, dry, well ventilated area away from heat, direct sunlight, oxidizing agents, strong acids, and strong alkalis.  Keep products away from open fire, flame or any ignition source.  Store temperature sensitive products at temperatures recommended by the manufacturer.  Quartz silica (sand) must be kept dry during storage and handling.

C.	Damaged Material:  Any materials that are found to be damaged or stored in any manner other than stated above will be rejected, removed and replaced at the Contractor's expense.

D.	Handling:  Handle all materials in accordance with the manufacturers guidelines as listed on the product specific Safety Data Sheets.

1.07  PROJECT/SITE CONDITIONS

A.	Requirements Prior to Job Start

1.	Permits:  Obtain all permits required by local agencies and pay all fees which may be required for the performance of the work.

2.	Safety:  Familiarize every member of the application crew with safety regulations recommended by OSHA and other industry or local governmental groups including the Siplast Safety Data Sheets.

B.	Environmental Requirements

1.	Precipitation:  Do not apply materials during precipitation or in the event there is a probability of precipitation during application.  Take adequate precautions to ensure that materials, applied membrane, and building interiors are protected from possible moisture damage or contamination.

2.	Temperature Restrictions – Epoxy and Polyurethane-based Materials:  Do not apply liquid materials if there is a threat of inclement weather.  Follow the liquid manufacturer's specifications for minimum and maximum ambient, material, and substrate temperatures.  Do not apply liquid materials unless ambient and substrate surface temperatures fall within the liquid manufacturer's published range.

C.	Protection Requirements

1.	Protection:  Provide protection against staining and mechanical damage for newly applied waterproofing and adjacent surfaces throughout this project.

2.	Limited Access:  Prevent access by the public to materials, tools, and equipment during the course of the project.

3.	Debris Removal:  Remove all debris daily from the project site and take to a legal dumping area authorized to receive such materials.

4.	Site Condition:  Complete, to the Owner's satisfaction, all job site clean-up including building interior, exterior, and landscaping where affected by the construction.

1.08  LIMITED WARRANTY

A.	Warranty-Unexposed Vehicular Systems:  Upon successful completion of the project, and after all post installation procedures have been completed, furnish the Owner with the manufacturer's 10-year limited warranty against material defects.

>	10-year Terapro PUR Coating Materials Limited Warranty

PART 2  PRODUCTS

2.01  DESCRIPTION OF SYSTEMS

A.	Liquid-Applied Vehicular Traffic Coating System:  An unreinforced multi-layered fluid-applied polyurethane-based coating system and a color finish top coat selected from the manufacturer’s standard palette of colors designed for vehicular traffic.

a)	Solids Content:  >100%  (ASTM D6511)

b)	Shore Hardness:  68D (ASTM D2240)

c)	VOC Content:  0 g/l (ASTM D6511)

d)	Elongation at Break:  40% (ASTM D412)

e)	Tensile Strength:  3,000 psi (ASTM D412)

f)	Tack free time at 68°F (20°C):  approximately 1 hour.

g)	Stress Resistant at 68°F (20°C):  approximately 12 hours for pedestrian and 24 hours for vehicular.

h)	Ambient and Substrate Temperature:  40°F (4.4°C) - 104°F (40°C) See manufacturers mixing & application instructions for detailed temperature ranges.

>	Terapro PUR Heavy Exposed Vehicular System by Siplast, Dallas, TX

2.02  MATERIALS

A.	Epoxy Primer:  A two-component, 100% solids, single-coat, liquid applied, epoxy-based primer for use over concrete in horizontal and vertical applications.

>	Pro Primer E 1200 by Siplast; Dallas, TX

B.	Epoxy Primer:  A two-component moisture reducing, 100% solids, single-coat, liquid applied, plural component epoxy that is alkali-resistant.

>	Pro Primer E by Siplast; Dallas, TX

C.	Coating Base Layer:   A two-component hand-applied aromatic polyurethane top coat (not color stable) used as a protective coating.

>	Terapro PUR 2200 by Siplast; Dallas, TX

D.	Coating Intermediate/Top Layer:  A two-component hand-applied hybrid aliphatic elastomeric polyurea used as a protective coating for interior or exterior substrates.

>	Terapro PUR 3200 by Siplast; Dallas, TX

2.03  WATERPROOFING ACCESSORIES

A.	Concrete Repair Material:  A fast-setting, two-component modified urethane concrete repair material with thixotropic consistency that allows for vertical repairs.

>	Terapro PUR Patch V by Siplast; Dallas, TX

B.	Viscosity Reducer:  A viscosity reducing additive that may be incorporated into the coating system.

>	Terapro VR by Siplast; Dallas, TX

C.	Activator:  A water-soluble, organic solvent stripping agent designed to increase the adhesion between existing and new polyuria and promotes adhesion of other materials applied to them.

>	Terapro PUR Activator by Siplast; Dallas, TX

D.	Joint Tape:  A bi-directional, self-adhered fabric tape used for covering joints in metal flashings, plywood, concrete, and other suitable substrates.

>	Eternabond Webseal by Eternabond, Inc.; Mundelein, IL

E.	Sealant:  A moisture-curing, non-slumping elastomeric sealant.

>	PS-715 NS Elastomeric Sealant by Siplast, Dallas, TX

F.	Aggregate Filler for Wearing Layer Resin: A quartz aggregate blend/filler added to the wearing layer with a 16/20 mesh.

>	Terapro VTS Aggregate Filler by Siplast; Irving, TX

PART 3 EXECUTION

3.01  SUBSTRATE EXAMINATION

A.	General:  Verify that the substrate is suitable to receive work.  Notify the general contractor and/or specifier in writing of conditions detrimental to the proper and timely completion of work.  Bring substrate deficiencies into an acceptable condition prior to commencing work.

B.	Concrete Substrate Requirements:  Structural concrete shall have a minimum compressive strength of 3,500 psi (24 N/mm2) and have a moisture content that conforms with the waterproofing system manufacturer’s requirements prior to commencement of work.

*  NOTE:	The Contractor must carefully verify the suitability of a concrete substrate.  High moisture content or a substandard surface condition may result in inadequate adhesion of the waterproofing system.

*  NOTE:	Curing compounds containing waxes, oils, silicones or other materials that may inhibit adhesion of the coating system should not be used.

C.	Moisture Content Evaluation: Evaluate the level of moisture in the concrete substrate to determine that the moisture content is acceptable for application of the specified coating system.  Concrete substrate shall be allowed to cure in accordance with American Concrete Institute (ACI) Bulletin 308, if less than 28 days a PH-resistant and moisture vapor reducing primer will be required.

D.	Adhesion Testing for Concrete Substrates to Receive Resin Materials:  Test the concrete substrate using a device conforming to ASTM D7234 (50 mm dolly) adhered with the specified Epoxy-based primer.  Utilize the same concrete preparation methods as that which will be used prior to application of the coating for areas to be evaluated for adhesion.  Ensure that a minimum adhesion value of 220 psi is obtained before application of the Epoxy-based primer.  If multiple areas or substrates are involved in the scope of work, evaluate each to determine suitability.  Maintain testing/evaluation records.

E.	Metal Substrate Requirements:  Provide clean, dry, and sound metal substrate. Prepare metal surfaces in accordance with SSPC-SP10/NACE No. 2 and achieve a 4-6 mil blast profile, measured using a Surface Profile Gauge.

3.02  SURFACE PREPARATION

A.	Protection:  Provide protection to prevent dust/debris accumulation, spillage and resin overruns.

- Taping:  Utilize masking tape at perimeters and joints of the area to be coated to provide neat terminations.

C.	Masonry/Concrete Walls:  Shot-blast or grind concrete or masonry wall surfaces to provide a sound substrate free from laitance and all residue from bitumen, coal tar, primer, coatings, adhesives, sealer or any material that may inhibit adhesion of the primer.  Following application of the specified primer, but prior to application of the coating system, fill cracks, voids, fractures, depressions, small indentations, and low areas in the substrate using the specified paste.  The use of paste or sealant is not an acceptable alternative to repointing mortar joints.  Do not apply coating materials over soft or scaling brick or masonry, faulty mortar joints, or walls with broken, damaged or leaking coping components.

D.	Preparation of Newly Placed Concrete Substrates to Receive Epoxy Primer:  Newly placed concrete shall be a minimum 7 days old and have reached a minimum 3,500 psi (24 MPa) compressive strength.  Following evaluation for moisture content and confirmation that the moisture content is at an acceptable level, shot-blast or scarify/shot blast the surface to provide a sound substrate free from laitance and to generate a concrete surface profile of CSP-3 as defined by the ICRI.  Grinding may be used as a preparation method for localized areas that cannot be reached by shot blasting equipment provided that a surface profile of CSP-3 can be generated.

E.	Repair and Leveling of Concrete to Receive Resin Materials:  Before application of the waterproofing membrane, and after priming, fill all joints, cracks, voids, fractures, depressions, small indentations, and low areas in the substrate using the specified paste or repair mortar.

F.	Concrete Substrate Repair:  Prime areas of the prepared concrete substrate intended for repair using  the specified Epoxy-based primer.  FiIl the areas using the specified paste or repair mortar and allow to cure.  Follow the paste or repair mortar manufacturer's published minimum and maximum product thickness limitations per lift.

G.	Preparation of Metal Substrates:  Clean and prepare metal surfaces in accordance with the contract documents or SSPC-SP10/NACE No.2, whichever is more stringent.  Achieve a blast profile of 3-5 mils, measured using a Surface Profile Gauge.  Wipe prepared metal surfaces with acetone, MEK, or other acceptable solvent prior to application of primer.

*  NOTE:	Consider the use of primer and paint to treat the prepared area not covered with resin to prevent corrosion of steel surfaces.

H.	Crack Preparation:  Follow manufacturer’s details for crack preparation prior to coating system application.

*  NOTE:	If there is any doubt regarding whether a crack or joint is static or dynamic, the condition should be treated as dynamic.

*  NOTE:	Contact Siplast for further information regarding dynamic crack and joint evaluation/treatment options as well as interface of the Terapro PUR System with mechanical expansion joint components.

I.	Plywood Flashing Substrate Preparation:  The moisture content in any wood substrate shall not exceed 15%.  Test moisture content using a nondestructive electronic moisture meter such as Tramex Moisture Encounter ME5 or similar.  Plywood shall be completely dry.  If plywood is not new, it should be cleaned and sanded.  Plywood should be exterior grade and have both tongue-and-groove edges and ends perpendicular to supports.

3.03  PRIMER MIXING AND APPLICATION

A.	Mixing Epoxy Primer:  Premix part A & B for 2 min separately. Pour parts A and B into a clean appropriately sized container.  Adequately stir mixture for 3-4 minutes using a Jiffy Mixer at approx. 300 rpm to generate a homogenous, streak-free consistency.  Keep the mixer blades fully submerged to avoid trapping air. Ensure that the bottom and sides of the container are fully scraped to disperse any materials that may have settled.  Pour the mixed material into a clean, secondary container and mix again for an additional 30 seconds.

B.	Application of Epoxy Primer:  Wet the qualified and prepared concrete using potable water and ensure that the substrate is in a saturated-surface-dry condition.  No standing water should be present at the time of epoxy application.  Apply the properly mixed epoxy using a squeegee or 3/8” nap roller using methods provided by, and at the rate specified by, the supplier/manufacturer.  Scrub the epoxy into the open concrete surface using a brush recommended by the supplier/manufacturer.  Cross-hatch using a 3/8” nap roller to generate full, even coverage.  Extend the epoxy primer up the vertical walls a minimum of 6 inches, vertical or sloped substrates may require a second coat.  Apply primer while substrate and ambient temperatures are falling rather than rising to minimize the potential for pinhole formation. Inspect the cured primer surface to ensure that coverage is full and free from dry spots and pinholing.  Do not proceed with application of the waterproofing system if pinholing or dry areas are observed.  Dry areas will require an additional layer of epoxy and pinholing should be investigated to determine a cause and remedy.  Cure time will take approximately 4 and a half hours to become tack free. DO NOT apply more primer than can be coated within eighteen (18) hours of becoming tack-free. When calculating application rates, make allowances for saturation of roller covers and application equipment.

3.04  LIQUID-APPLIED COATING INSTALLATION

*  NOTE:	This specification is limited to projects having a maximum slope of 1/4 inch.  Contact Siplast for specifications to meet higher slope requirements.

A.	Mixing of Liquid Materials:  Premix part A & B for 2 min separately. Pour parts A and B into a clean appropriately sized container.  Adequately stir mixture for 3-4 minutes using a Jiffy Mixer at approx. 300 rpm to generate a homogenous, streak-free consistency.  Keep the mixer blades fully submerged to avoid trapping air. Ensure that the bottom and sides of the container are fully scraped to disperse any materials that may have settled.  Immediately transfer into smaller containers or pour onto the substrate to prolong working time.

B.	Application of Terapro PUR Heavy Exposed Vehicular System over Prepared Substrates:

1.	Pour a base coat of Terapro PUR 2200 onto substrate and spread evenly over entire horizontal surface at the specified coverage rate using notched trowel or squeegee then back roll using a 1/4-inch nap roller. Use a spiked roller to remove trowel marks and to even the application of the coating or to achieve the surface texture or finish required.

2.	Allow the Terapro PUR 2200 to cure until tack-free prior to performing subsequent steps.

3.	Pour an intermediate coat of Terapro PUR 3200 onto substrate and spread evenly over entire horizontal surface at the specified coverage rate using notched trowel or squeegee then back roll using a ¼-inch nap roller. Use a spiked roller to remove trowel marks and to even the application of the coating or to achieve the surface texture or finish required.

4.	Prior to the Terapro PUR 3200 achieving full set, broadcast the VTS Quartz into the Terapro PUR 3200 to provide slip resistance.

5.	Allow the Terapro PUR 3200 to cure until tack-free prior to performing subsequent steps.

6.	Sweep up or vacuum any loose or unbounded aggregate.

7.	Pour a top coat of Terapro PUR 3200 onto the substrate and spread evenly over the entire horizontal surface at the specified coverage rate using notched trowel or squeegee then back roll using a ¼-inch nap roller. Extend the Terapro PUR 3200 onto the walls a minimum of 6 inches and ¼ inch below the termination point of the primer.

8.	Allow the Terapro PUR system to fully cure prior to receiving traffic.

9.	From the start of mixing to completion of spreading of a kit should be performed within approximately 10 minutes.

10.	Make allowances for saturation of roller covers and application equipment when calculating liquid application rates.

11.	DO NOT apply more Terapro PUR than can be coated within twenty-four (24) hours of becoming tack free.

3.04  FIELD QUALITY CONTROL AND INSPECTIONS

A.	Site Condition.  All areas around the job site shall be free of debris, waterproofing materials, equipment, and related items after completion of the job.

B.	A job site mock-up should always be performed to confirm acceptability of workmanship, material coverage rates and aesthetics as specified for the project.

C.	Notification Of Completion:  Contractor shall notify manufacturer by means of manufacturer's printed Notification of Completion form of job completion to commence warranty issuance process.

D.	Issuance Of The Limited Warranty.  Complete all post installation procedures and meet the manufacturer's final endorsement for issuance of the specified limited warranty.